# Home Maintenance Checklist

Check off each task as you complete it.

## Monthly

☐ Check under sinks for leaks

☐ Test smoke & carbon monoxide detectors

☐ Replace HVAC filter (if needed)

## Every 6 Months

☐ Clean refrigerator coils

☐ Clean bathroom exhaust fan

☐ Inspect washing machine hoses

☐ Inspect caulk around tubs/showers

## Yearly

☐ Clean dryer vent

☐ Flush water heater

☐ Clean gutters

☐ Walk around home after heavy rain

☐ Lubricate garage door hardware

☐ Seal windows & doors

☐ Label/test main water shut-off valve